## Slide 1
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
Distribution | 38722.1667 | 41786 | 44215 | 46687 | 51029 | 53736 | 58200 | 62623 | 66100 | 68026 | 69232 | 69823
Transmission | 12892 | 13132 | 13205 | 15209 | 16473 | 17482 | 18320 | 19070 | 19990 | 20568 | 20756 | 20653
Distribution
Transmission
Notes: Distribution networks represent most of the network assets and most of the growth in asset value
Units: $billions, real

## Slide 2
Chart: 
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
Route line length | 1 | 0.99118 | 0.98979 | 0.99928 | 1.0079 | 1.0089 | 1.0144 | 1.0161 | 1.0198 | 1.0216 | 1.0261
Customer numbers | 1 | 1.0131 | 1.0266 | 1.0428 | 1.0558 | 1.0696 | 1.0821 | 1.0946 | 1.1063 | 1.1208 | 1.1365
Energy delivered | 1 | 1.0112 | 1.0267 | 1.031 | 1.038 | 1.0183 | 1.0033 | 0.97439 | 0.95627 | 0.96687 | 0.973
Maximum demand | 1 | 1.026 | 1.069 | 1.1152 | 1.114 | 1.1083 | 1.0278 | 1.0699 | 1.0499 | 1.0226 | 1.0817
Network capacity | 1 | 1.0634 | 1.117 | 1.1729 | 1.2044 | 1.2355 | 1.2649 | 1.2892 | 1.3218 | 1.3411 | 1.376
RAB (real) | 1 | 1.06 | 1.1237 | 1.2285 | 1.2929 | 1.4035 | 1.5073 | 1.5866 | 1.6348 | 1.6619 | 1.6726
RAB
Network capacity
Customer numbers
Line length
Energy delivered
Max demand
Notes: Title: Growth in network assets has far outstripped both potential use (capacity) and actual use
Units: Change in distribution networks from a 2006 base, NEM-wide
Source: Grattan analysis of AER determinations and benchmarking data

## Slide 3
Chart: 
| NSW | QLD | VIC | SA
Network | 740 | 843 | 586 | 720
Wholesale | 526 | 655 | 394 | 786
Retail | 357 | 323 | 386 | 302
Green schemes | 97 | 134 | 92 | 116
Green
schemes
Networks
Wholesale
Retail
Notes: The composition of a typical electricity bill in each state
Notes: ACCC estimates of average residential bills for 2016-17. No estimate available for Tasmania.
Source: ACCC 2017

## Slide 4
Chart: 
| NSW | QLD | VIC | SA
Smart Meters | 91
Network | 221 | 275 | 74 | 168
Wholesale | 78 | -66 | -10 | 281
Retail | 183 | 143 | 134 | 73
Green schemes | 55 | 109 | 80 | 101
Green
schemes
Networks
Wholesale
Retail
Smart
meters
Notes: Network costs have been the single biggest contributor to price rises since the mid-2000s in all states except SA
Source: ACCC 2017

## Slide 5
Chart: 
| Depreciation | WACC | Opex | Other
Share of revenue | 0.133 | 0.49806 | 0.31421 | 0.054733
RAB revenue
Non-RAB revenue
Notes: The RAB has a major impact on how much consumers pay
Notes: Average share of current year revenue (2017-18) by category for distribution networks; WACC = Weighted Average Cost of Capital; Other’ = tax and revenue adjustments.

## Slide 6
Chart: 
| 1998-99 | 1999-00 | 2000-01 | 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16
Energy Australia / Ausgrid | 230.22 | 410.26 | 411.69 | 428.94 | 418.88 | 326.6 | 640.21 | 787.86 | 1003.12 | 1178.43 | 1331.94 | 1614.68 | 1826.01 | 1937.74 | 1381.89 | 735.84 | 654.93 | 705.89
Country / Essential Energy | 244.91 | 203.53 | 219.46 | 270.83 | 319.14 | 187.01 | 375.55 | 485.89 | 607.55 | 674.34 | 784.56 | 813.26 | 831.8 | 851.07 | 717.81 | 625.2 | 485.4 | 425.98
Integral / Endeavour Energy | 160.01 | 157.05 | 146.81 | 215.2 | 210.86 | 16.76 | 337.27 | 437.26 | 482.88 | 458.33 | 671.29 | 500.64 | 588.42 | 725.15 | 635.15 | 577.01 | 377.78 | 253.08
Energex | 348.3 | 387.95 | 377.56 | 389.98 | 658.26 | 986.62 | 943.29 | 870.53 | 1019.2 | 1232.37 | 1160.78 | 1080.85 | 1006.61 | 839.35 | 792.88 | 528.93
Ergon Energy | 292.88 | 384.29 | 470.17 | 473.54 | 517.1 | 824.3 | 924.67 | 820.51 | 890.94 | 969.68 | 935.07 | 837.53 | 913.36 | 791.26 | 830.53 | 600.26
TransGrid | 84 | 129.2 | 430.6 | 135.5 | 525.3 | 181.9 | 204.2 | 284 | 415.8 | 695 | 495.2 | 434.6 | 397.1 | 548.3 | 516.6 | 276.1 | 331.5
Powerlink | 376.8 | 403.1 | 265.7 | 316.6 | 268.1 | 119.9 | 868.9 | 774.6 | 545 | 508 | 792.2 | 507 | 350.1 | 171.3 | 138.2
New reliability standards in NSW & QLD
Review
Standards repealed
AGD
ERG
ENX
ESS
TRG
END
PWL
Notes: Title: Over-investment in NSW and QLD appears to be driven primarily by reliability standards
Units: Real capex ($b, $2017)
Source: Grattan analysis of determinations

## Slide 7
Chart: 
| JEN | CIT | PCR | AND | UED | ESS | AGD | END | ENX | ERG
RAB growth | 0.044776 | 0.019926 | 0.037255 | 0.076046 | 0.022709 | 0.10265 | 0.11719 | 0.078868 | 0.084179 | 0.073858
Expected | 0.0407 | 0.0432 | 0.0452 | 0.0573 | 0.038 | 0.0417 | 0.0406 | 0.0471 | 0.0736 | 0.057
Actual | 0.0372 | 0.0262 | 0.0502 | 0.0471 | 0.0403 | 0.0086 | 0.0085 | 0.0133 | 0.026 | 0.0272
Actual demand
VIC
NSW
QLD
Expected demand
RAB
Notes: Title: Network growth even exceeded expected demand for many DNSPs
Units: Average annual growth, 2006-2014, %
Source: Grattan analysis of expected demand in past determinations and actual demand based on AER benchmarking data

## Slide 8
Chart: 
QLD min area | 1
QLD max area | 1
NSW min area | 1
NSW max area | 1
VIC min area | 1
VIC max area | 1
SA min area | 1
SA max area | 1
QLD | 0.0805 | 0.0805 | 0.085 | 0.085 | 0.0972 | 0.0972 | 0.0972 | 0.0601
NSW | 0.0675 | 0.068 | 0.068 | 0.068 | 0.1002 | 0.1002 | 0.1002 | 0.0668
VIC | 0.068 | 0.068 | 0.059 | 0.059 | 0.0971 | 0.0971 | 0.0971 | 0.06254
SA | 0.0826 | 0.0826 | 0.0685 | 0.0685 | 0.0976 | 0.0976 | 0.0976 | 0.0617
2002
2018
Notes: Figure: WACC over time
DNSPs only
Source: Grattan analysis of determinations

## Slide 9
Chart: 
| NSW | QLD | TAS | SA | VIC | TOTAL
Excess $m | 0 | 11172 | 18434 | 19185 | 19908 | 0
DNSP | 9595 | 6377 | 235 | 0 | 90 | 16297
TNSP | 1577 | 885 | 516 | 723 | 0 | 3701
Distribution
Transmission
$20b
Notes: Excess growth by state ($b)

## Slide 10
Chart: 
| NSW - Endeavour | TAS | QLD - Energex | QLD - Ergon | NSW - Ausgrid | NSW - Essential
DNSP | 77 | 84 | 206 | 272 | 276 | 338
TNSP | 41 | 63.6 | 35 | 35 | 41 | 41
Distribution
Transmission
$ per customer
Notes: Customers in NSW, Queensland and Tasmania have a lot to gain from a write-down of stranded assets
PTRM models
With adjustment for Tasmania because 20 large industrial customers represent 60% of total demand (chart shows only the 40% of transmission savings expected to flow through to households and small businesses).

## Slide 11
Write-down
Current determination period 
Chart: 
| Current 2014-15 RAB | New 2014-15 RAB | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20
Jemena | 1.0465 | 1 | 1.0683 | 1.0986 | 1.0572 | 1.0434 | 1.0142
Tas (D) | 1.1667 | 1 | 1.0155 | 1.0252 | 1.0142 | 0.97985
CitiPower | 1.0279 | 1 | 1.051 | 1.056 | 1.03 | 1.0013 | 0.96884
Essential | 1.8677 | 1 | 1.0954 | 1.0811 | 1.0689 | 1.053
Energex | 1.5094 | 1 | 1.0506 | 1.0336 | 1.01 | 0.99415 | 0.97792
Ausgrid | 1.5445 | 1 | 1.0438 | 1.0344 | 1.0237 | 1.0074
Ergon | 1.3109 | 1 | 1.0464 | 1.0279 | 1.0048 | 0.98192 | 0.96354
Endeavour | 1.1559 | 1 | 1.0403 | 1.0148 | 0.99981 | 0.98368
ElectraNet | 1.5017 | 1 | 1.0738 | 1.0395 | 0.98398
Powerlink | 1.3327 | 1 | 0.97505 | 0.97584 | 0.96356 | 0.94376 | 0.92554
Tas (T) | 1.3937 | 1 | 1.0314 | 1.0033 | 0.98146 | 0.95665
TransGrid | 1.3545 | 1 | 1.0346 | 1.0056 | 0.99598
Notes: Figure: With a write-down, the current determination will not make things worse
Units: RAB per customer, as a % of post-write-down RAB
Notes: DNSPs and TNSPs. Assuming customer growth rates on par with average growth of the previous decade.
Source: Grattan analysis of Determinations data

## Slide 12
Chart: 
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Essential | 1 | 1.1042 | 1.2083 | 1.3333 | 1.4375 | 1.5417 | 1.6875 | 1.75 | 1.7917 | 1.8125
Energex | 1 | 1.0545 | 1.1273 | 1.1818 | 1.2909 | 1.4 | 1.4545 | 1.5273 | 1.5636 | 1.5818
AusGrid | 1 | 1.0952 | 1.2143 | 1.3333 | 1.6905 | 1.9048 | 2.0952 | 2.1905 | 2.1905 | 2.1905
Ergon | 1 | 1.0707 | 1.1414 | 1.1919 | 1.2626 | 1.3333 | 1.3535 | 1.404 | 1.4343 | 1.4747
Endeavour | 1 | 1.0714 | 1.119 | 1.2381 | 1.2619 | 1.3333 | 1.4524 | 1.5 | 1.5476 | 1.5476
SP AusNet | 1 | 1 | 1 | 1.0286 | 1.0857 | 1.1143 | 1.2286 | 1.2857 | 1.4 | 1.4571
ActewAGL | 1 | 0.97826 | 0.97826 | 0.97826 | 1 | 1.0435 | 1.0652 | 1.0652 | 1.1087 | 1.1087
Jemena | 1 | 1 | 0.93333 | 0.93333 | 0.96667 | 1.0333 | 1.1 | 1.1667 | 1.2333 | 1.3
TasNetworks | 1 | 1.0208 | 1.0625 | 1.125 | 1.1667 | 1.2083 | 1.25 | 1.2292 | 1.2292 | 1.25
CitiPower | 1 | 0.98077 | 0.92308 | 0.92308 | 0.92308 | 0.96154 | 1 | 1.0192 | 1.0577 | 1.0769
SA PowerNetworks | 1 | 0.97727 | 0.97727 | 0.93182 | 0.93182 | 0.97727 | 1 | 1.0227 | 1.0455 | 1.0682
Powercor | 1 | 0.97436 | 0.94872 | 0.94872 | 0.92308 | 0.94872 | 1 | 1.0513 | 1.0769 | 1.1282
Ergon
AusGrid
Ess’tial
Energex
End’vour
AusNet
All other DNSPs
Notes: Title: Network growth in excess of actual use is a burden on customers, particularly in NSW and QLD
Units: Change in real RAB per customer, from a 2005-06 base
Source: Grattan analysis of AER determinations

## Slide 13
Chart: 
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
TransGrid | 1 | 1.02 | 1.05 | 1.09 | 1.12 | 1.14 | 1.14 | 1.19 | 1.23 | 1.25


 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015

#REF! | 1
ElectraNet | 1 | 1 | 1.02 | 1.11 | 1.09 | 1.22 | 1.26 | 1.37 | 1.44 | 1.43
Powerlink | 1 | 0.96 | 1.33 | 1.37 | 1.38 | 1.41 | 1.46 | 1.44 | 1.4 | 1.36
AusNet Services | 1 | 1.01 | 0.99 | 0.93 | 0.93 | 0.93 | 0.85 | 0.78 | 0.78 | 0.94
TasNetworks | 1 | 1.07 | 1.08 | 1.04 | 1.31 | 1.4 | 1.45 | 1.46 | 1.49 | 1.52

#REF! | 1
Tas Networks
ElectraNet
(SA)
Powerlink
(QLD)
TransGrid
(NSW)
AusNet
(VIC)
Notes: Figure: Transmission network assets have outgrown connections in all states except Victoria
Units: Change in real RAB per connection, from a 2005-06 base
Note: Connection in the context of TNSPs refers to the voltage of entry/exit points
Source: Grattan analysis of TNSP determinations

## Slide 14
Chart: 
| D1 | D2 | D3 | D4
ActewAGL
Aurora / Tas Networks
Country / Essential Energy | 1829 | 3564 | 4494 | 2864
Energex | 2158 | 3924 | 3546 | 1937
Energy Australia / AusGrid | 1467 | 3115 | 4540 | 1902
Ergon Energy | 4059 | 6680 | 5967 | 3907
Integral / Endeavour Energy | 1301 | 2717 | 3219 | 1693
Essential
Ergon
Energex
AusGrid
Endeavour
Notes: Figure: Capex per customer was reeled in in the current determinations for NSW and QLD…
Units: Total capex, real, per customer, per determination period
Source: Grattan analysis of Determinations data

## Slide 15
Chart: 
| D1 | D2 | D3 | D4
ActewAGL
Alinta / Jemena | 803 | 1357 | 2125 | 2309
Aurora / Tas Networks
CitiPower | 1769 | 1923 | 2330 | 2456
ETSA Utilities / SA Power Networks | 940 | 1154 | 2001 | 2268
Powercor | 1397 | 1604 | 2095 | 2114
SP AusNet | 1025 | 1850 | 2733 | 2300
United Energy | 912 | 992 | 1628 | 1455
AusNet
CitiPower
United
Powercor
SA Power
Jemena
Notes: Figure: … while for Victorian and South Australian networks, capex levels are now holding steady
Units: Total capex, real, per customer, per determination period
Source: Grattan analysis of Determinations data

## Slide 16
Chart: 
| NSW | QLD | VIC | SA
Network | 221 | 275 | 165 | 168
Non-network | 316 | 186 | 204 | 455
Network
Non-network
Notes: Network costs have been the biggest contributor to price rises since the mid-2000s
Source: ACCC 2017

## Slide 17
Chart: 
| 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17
Distribution | 31791.3361 | 34676.2 | 37771.2 | 41715.7 | 45839.9 | 51139.2 | 56556.8 | 60983.7 | 64865.6 | 67817.9 | 70299.9 | 73713.4
Transmission | 9932 | 10333 | 12222 | 13758 | 14881 | 16027 | 17180 | 18420 | 19467 | 20167 | 20545 | 20913
Distribution
Transmission
Notes: Distribution networks represent most of the network assets and most of the growth in asset value
Units: $billions, nominal

## Slide 18
Chart: 
| NSW | QLD | VIC | SA
Reliability standards & historic underinvestment | 0 | 0.63565 | 0 | 0
Reliability standards | 0.29066 | 0 | 0 | 0.30462
Ageing assets | 0.19619 | 0 | 0 | 0
New safety reqs. | 0 | 0 | 0.44536 | 0
Expected demand? | 0.32496 | 0.36435 | 0.55464 | 0.69538
Remainder=Higher capex continued forward / excess growth | 0.18819 | 0 | 0 | 0
New reliability standards
Historic underinvestment
/ Ageing assets
New safety reqs
Expected demand
$14b
$8b
$1.3b
$1b
?
No explanation
Notes: The main drivers of stranded value differ by state
% of stranded value

## Slide 19
Chart: 
| NSW | QLD | VIC | SA
Reliability standards & historic underinvestment | 0 | 0.63565 | 0 | 0
Reliability standards | 0.29066 | 0 | 0 | 0.30462
Ageing assets | 0.19619 | 0 | 0 | 0
New safety reqs. | 0 | 0 | 0.44536 | 0
Remainder=Higher capex continued forward / excess growth | 0.51315 | 0.36435 | 0.55464 | 0.69538
New reliability standards
Historic underinvestment
/ Ageing assets
New safety reqs
Other
$14b
$8b
$1.3b
$1b
Much of the excess capex is tricky to directly attribute a cause
Notes: The main drivers of stranded value differ by state
% of stranded value

## Slide 20
Chart: 
| Powerlink | Ergon | Energex | TransGrid | Endeavour | AusGrid | Essential
Change in network use | 0.31783 | 0.49864 | 0.4505 | 0.11088 | 0.81085 | 0.50617 | 0.35016
Change in RAB | 0.78677 | 0.95133 | 1.1648 | 0.5068 | 1.099 | 1.3693 | 1.4954
Network use
RAB
NSW
QLD
Notes: Change in RAB vs. change in usage for NSW and QLD networks

## Slide 21
Chart: 
| AGD | ESS | TG | END | ENX | ERG | PL | EL | T | D | CIT | JEN
Excess ($m) | 5442 | 3304 | 1577 | 849 | 1673 | 2442 | 885 | 723 | 516 | 235 | 52 | 38
Range | 2262
NSW
QLD
SA
TAS
VIC
Notes: Excess growth ($b) by network
Range for Energex is based on data provided by Energex about total capital underinvestment prior to analysis period

## Slide 22
Chart: 
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
ElectraNet | 0 | 0.00075369 | 0.0029159 | 0.045745 | 0.061791 | 0.073463 | 0.083861 | 0.0885 | 0.093637 | 0.096426 | 0.10247
Powerlink | 0 | 0.019078 | 0.041008 | 0.062334 | 0.080776 | 0.097663 | 0.1127 | 0.12741 | 0.14281 | 0.15755 | 0.17682
AusNet Services | 0 | 0.015981 | 0.030577 | 0.04401 | 0.058399 | 0.074731 | 0.091327 | 0.10648 | 0.11456 | 0.13246 | 0.15194
Transend / Tas Networks | 0 | 0.019314 | 0.039024 | 0.059132 | 0.079647 | 0.10058 | 0.11071 | 0.1166 | 0.12012 | 0.12933 | 0.13837
TransGrid | 0 | 0.010033 | 0.020306 | 0.029302 | 0.036962 | 0.047143 | 0.05604 | 0.067673 | 0.082062 | 0.097024 | 0.11088
TAS
SA
QLD
NSW
VIC
Notes: Growth in customers over time from a 2005-06 base, States / TNSPs

## Slide 23
Chart: 
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
ElectraNet | 0 | -0.00050277 | 0.061589 | 0.072147 | 0.077174 | 0.10005 | 0.063097 | 0.10684 | -0.13776 | -0.20186 | -0.17748
Powerlink | 0 | 0.064001 | 0.05267 | 0.094098 | 0.11023 | 0.082223 | 0.058381 | 0.057474 | 0.043604 | 0.072614 | 0.08739
AusNet Services | 0 | 0.1828 | 0.22058 | 0.2724 | 0.22717 | 0.19461 | 0.1101 | 0.18926 | 0.27476 | 0.13061 | 0.20268
Transend / Tas Networks | 0 | 0.002608 | -0.022355 | -0.010432 | -0.018629 | -0.032042 | -0.035395 | -0.051788 | -0.065201 | -0.066692 | -0.061103
TransGrid | 0 | 0.021978 | 0.021978 | 0.027473 | 0.038462 | 0.065934 | -0.010989 | -0.043956 | -0.065934 | -0.093407 | -0.010989
TAS
SA
QLD
NSW
VIC
Notes: Growth in MD over time from a 2005-06 base, States / TNSPs

## Slide 24
Chart: 
| NSW | QLD | TAS | VIC | SA | ACT
Initial RAB/customer | 5124 | 7893 | 6854 | 4730 | 6466 | 5603
2005-06 RAB/customer | 5708 | 9113 | 8639 | 4621 | 6144 | 4548
End RAB/customer | 9420 | 13641 | 11067 | 5459 | 7375 | 5009
At initial valuation
2005-06
2015-16
Notes: RAB per customer

## Slide 25
Chart: 
| 0.10136323658751099 | 0.29821608885897005 | 0.19406726551075831 | 5.1572085889570553E-2 | 0.77552288258438595 | 0.52295262578038926 | 0.85074004586199703 | 0.42920847268673357 | 4.4565711687130513E-2 | 0.49726905723106152 | 0.14162978391043998 | 0.48417721518987344 | 0.12246302029583764 | 0.59221076746849943 | 0.55268022181146026 | 3.3653846153846152E-2 | 0.38878795743576433 | 0.35506677140612725
Absolute change | 461 | 886 | 929 | 269 | 3745 | 2848 | 4081 | 4235 | 196 | 2094 | 544 | 1683 | 356 | 1034 | 1196 | 35 | 1498 | 452
TAS
SA
QLD
NSW
VIC
ACT
Notes: Change in real RAB/customer ($’000, 2017 dollars) since 2005-06 – in absolute and per cent terms

## Slide 26
Chart: 
| 0.16 | 0.31 | 0.27 | 0.04 | 1.03 | 0.56999999999999995 | 0.89 | 0.65 | 0.1 | 0.52 | 0.32 | 0.62 | 0.18 | 0.78 | 0.45 | 0.2 | 0.59 | 0.45
$ difference | 23570 | 48112 | 15484 | 16293 | 20042 | 80665 | 171110 | 27143 | 4116 | 57532 | 11373 | 31606 | 25891 | 190449 | 153683 | 76639 | 159834 | 152605
TAS
SA
QLD
NSW
VIC
ACT
Notes: Change in real RAB/km circuit line length since 2005-06 – in absolute and per cent terms

## Slide 27
Chart: 
| Currently or recently public (NSW, QLD, TAS, ACT) | Private (VIC, SA)
Initial RAB/customer | 6337 | 5207
2005-06 RAB/customer | 7123 | 4986
End RAB/customer | 11126 | 5903
At initial valuation
2005-06
2015-16
+ 76%
+ 13%
Notes: RAB per customer

## Slide 28
Chart: 
| Determination period 1 | Determination period 2
QLD | 1936.17 | -3530.55
NSW | 4073.61 | -3007.3
VIC | -159.21 | 479.29
SA | -81.45 | -172.93
ACT | 36.59 | 71.3
QLD NSW VIC SA ACT
Notes: Total overspend on distribution capital expenditure by determination period by state
Billions, real 2017 dollars
Notes: Distribution only. Determination period 1 = 2004-05/2005-06 to 2008-09/2009-10 determination period, Determination period 2 =2009-10/2010-11 to 2013-14/2014-15 determination period. Tasmania not included because its determination period was longer and overlaps across the determination periods of other states.

## Slide 29
Chart: 
| 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15
Forecast capex | 2040.2577 | 2013.5553 | 1946.0347 | 2631.2703 | 3585.3142 | 3576.6412 | 3612.4326 | 3624.5654 | 5654.1105 | 7135.9038 | 7366.8442 | 7340.0652 | 7302.0801 | 5594.5698
Actual capex | 2198.2253 | 2339.6807 | 2036.6107 | 3383.9121 | 4322.7354 | 4742.5122 | 4827.8131 | 5666.337 | 6242.5218 | 6585.4036 | 6723.9274 | 5976.0436 | 4985.5072 | 4479.4496
Actual capex
Notes: Total forecast vs. actual capital expenditure (distribution)
Capital expenditure on distribution, billions of dollars, real 2017
Notes: Data for all states except SA and ACT (that is, includes NSW, QLD, VIC, TAS) as there is data missing for these states

## Slide 30
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45
Ergon-SAIDI | 380.49 | 264.07 | 316.67 | 352.06 | 352.25 | 324.96 | 295.8 | 264.11 | 228.06 | 281.05 | 280.49
Energex-SAIDI | 128.22 | 88.22 | 100.35 | 90.79 | 87.68 | 78.78 | 64.17 | 67.3 | 70.04 | 84.46 | 74.05
Essential-SAIDI | 297 | 222.3 | 218.4 | 261 | 196.5 | 222.5 | 237.5 | 232.5 | 181.2 | 221.57 | 214.15
Ausgrid-SAIDI | 86.99 | 85.5 | 97.03 | 106.5 | 78.94 | 89.33 | 79.27 | 67.62 | 76.52 | 71.4 | 76.01
Endeavour-SAIDI | 99.3 | 96 | 101.7 | 96.3 | 79.4 | 76.9 | 93.3 | 104.3 | 82.6 | 91.32 | 86.71
TAS-SAIDI | 132 | 173 | 175 | 201 | 205 | 139 | 160 | 137 | 184.84 | 141.26 | 150.41
Label line | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
Ergon-SAIFI | 3.95 | 2.75 | 2.94 | 3.42 | 3.27 | 2.83 | 2.71 | 2.42 | 2.32 | 2.52 | 2.49
Energex-SAIFI | 1.72 | 1.25 | 1.38 | 1.3 | 1.38 | 1.1 | 0.85 | 0.88 | 0.89 | 0.91 | 0.86
Essential-SAIFI | 2.64 | 2.3 | 2.26 | 2.34 | 2 | 1.87 | 2.12 | 1.85 | 1.73 | 1.97 | 1.77
Ausgrid-SAIFI | 1.16 | 1.04 | 1.15 | 1.3 | 1.06 | 1.03 | 0.88 | 0.73 | 0.83 | 0.69 | 0.7
Endeavour-SAIFI | 1.21 | 1.22 | 1.23 | 1.1 | 0.97 | 0.9 | 1.01 | 1.22 | 0.98 | 1.09 | 0.87
Notes: Reliability improvement in Qld and regional NSW
SAIDI (minutes/customer) = LHS axis, solid line; SAIFI (outages/customer) = RHS axis, dash line;
AER 2017 distribution partial performance indicators

## Slide 31
Chart: Reliability improvement (minutes per year)
| 23.419999999999995 | -18.409999999999997 | 0.23000000000000043 | 82.85 | 54.17 | 10.97999999999999 | 100 | 12.590000000000003
Difference per customer ($) per annum | 14.8045 | 65.7748 | 19.5912 | 324.2189 | 195.4942 | 285.6197 | 264.0671 | 96.3354
TAS
QLD
NSW
VIC
Notes: Cost of excess growth (per customer) vs. reliability improvement in minutes (SAIDI, 2006-2016)
DNSPs only

## Slide 32
Chart: 
| Endeavour | Essential | Ausgrid
Allowed extra capex, in real $2017 | 482.8793 | 461.5602 | 783.8627
Capex overspend above extra allowed, in real $2017 | 125.3077 | 789.8589 | 1372.7561
Extra capex allowed to meet reliability standards
Remaining overspend
Notes: Total capex overspend by NSW distribution networks between 2005-06 to 2008-09 on top of allowed extra capex for reliability standards
Billions of dollars, real $2017

## Slide 33
Chart: 
| 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
ACT | 25.34 | 18.97 | 24.77 | 26.36 | 41.46 | 31.62 | 29.45 | 31.01 | 37.88 | 44.63 | 40.38 | 78.81 | 83.86 | 77.23 | 73.92 | 90.74 | 74.89 | 54.34
NSW | 635.14 | 770.84 | 777.96 | 914.97 | 948.88 | 530.37 | 1353.03 | 1711.01 | 2093.55 | 2311.1 | 2787.79 | 2928.58 | 3246.23 | 3513.96 | 2734.85 | 1938.05 | 1518.11 | 1384.95
QLD | 641.18 | 772.24 | 847.73 | 863.52 | 1175.36 | 1810.92 | 1867.96 | 1691.04 | 1910.14 | 2202.05 | 2095.85 | 1918.38 | 1919.97 | 1630.61 | 1623.41 | 1129.19
SA | 113.28 | 127.39 | 146.54 | 179.45 | 127.12 | 197.96 | 157.28 | 150.31 | 205.51 | 228.96 | 313.04 | 364.54 | 366 | 309.89 | 350.79 | 236.71
TAS | 51.53 | 64.49 | 55.58 | 50.44 | 51.85 | 85.74 | 109.12 | 132.71 | 143.41 | 131.63 | 158 | 170.39 | 160.33 | 157.25 | 97.51 | 106.17 | 105.3 | 117.75
VIC | 567.28 | 565.52 | 460.57 | 491.22 | 556.99 | 746.4 | 668.09 | 637.6 | 694.04 | 810.4 | 941.5 | 1083 | 1134.33 | 1223.72 | 1310.68 | 1232.61 | 960.48
NSW
QLD
VIC
SA
TAS
ACT
Notes: Actual capex over time by state (distribution)
Billions of dollars, real $2017

## Slide 34
Chart: Reliability improvement (minutes)
| -0.10000000000000142 | 23.419999999999995 | -18.409999999999997 | 0.23000000000000043 | 82.85 | 54.17 | 10.97999999999999 | 100 | 17.430000000000007 | 12.590000000000003 | -8.539999999999992 | 18.180000000000007 | -4.1200000000000045
Real change in RAB per customer (2006-2016) | 469 | 886 | 940 | 266 | 3767 | 2867 | 4105 | 4267 | 204 | 2109 | 543 | 1685 | 355
TAS
SA
QLD
NSW
VIC
Notes: Real change in RAB/customer 2006-2016 vs. reliability improvement in minutes (SAIDI, 2006-2016)
DNSPs only

## Slide 35
Chart: 
| Es | A | Ed | T | Ex | Er | P | T | D | T | D | C | AD | J | U | P | AT
Change in RAB | 1.5106 | 1.378 | 1.1067 | 1.0074 | 1.1635 | 0.95013 | 1.0633 | 0.90129 | 0.35487 | 1.0032 | 0.17446 | 1.0229 | 0.73244 | 0.66489 | 0.63975 | 0.6224 | 0.12477
Change in network use | 0.42219 | 0.50617 | 0.81085 | 0.50809 | 0.4505 | 0.49864 | 0.80668 | 0.2488 | 0.15895 | 0.41572 | 0.35447 | 0.96594 | 0.89774 | 0.61457 | 1.1182 | 1.5136 | 0.62542
RAB > Use
NSW
QLD
TAS
SA
VIC
Use > RAB
Notes: Change in RAB vs. change in usage
For all networks not shown, Use>RAB

## Slide 36
Chart: 
| ESS | AGD | END | ENX | ERG | ACT | SA | JEN | CIT | PCR | AND | UED
LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre-standards | 369 | 299 | 232 | 378 | 741 | 220 | 187 | 201 | 339 | 277 | 231 | 198
Post-standards | 912 | 917 | 653 | 801 | 1334 | 373 | 309 | 330 | 410 | 349 | 449 | 247
After
Prescriptive reliability standards introduced
No change to reliability standards
Before
Notes: Average actual capex per customer, pre- and post-reliability standards
$2017
Pre-reliability standards period is 2000-01 to 2004-05 (5 years), post-reliability standards period is 2006-07 to 2012-13 (7 years)

## Slide 37
Chart: 
Ausgrid-repex | 24 | 79 | 88 | 53 | 54 | 50 | 209 | 284 | 351 | 360 | 469 | 687 | 727 | 596 | 549 | 388 | 304 | 293 | 276
Endeavour-repex | 13 | 27 | 42 | 51 | 27 | 56 | 93 | 110 | 173 | 135 | 158 | 111 | 122 | 168 | 205 | 243 | 154 | 107 | 84
#REF! | 1
Label line | 1
#REF! | 1
#REF! | 1
Essential-repex | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 700 | 80.1823 | 80.2894 | 65.3854 | 114.4815 | 118.2538 | 112.8142 | 71.3236 | 93.0833 | 122.0963 | 135.3939 | 135.3939 | 182.0197 | 249.6479 | 242.0844 | 211.4144 | 207.2843 | 159.9161 | 166.8023
Ausgrid-augex | 121 | 149 | 209 | 221 | 199 | 206 | 280 | 329 | 480 | 504 | 528 | 605 | 620 | 603 | 478 | 292 | 54 | 34 | 16
Endeavour-augex | 34.2939 | 60.8981 | 69.6233 | 81.9817 | 118.2538 | 137.884 | 177.7045 | 172.869 | 220.0152 | 126.9318 | 269.579 | 150.4727 | 197.7579 | 273.8597 | 316.2158 | 243.5932 | 80.56 | 46.8094 | 28.0992
Essential-augex | 86.8778 | 47.5967 | 98.2294 | 67.1957 | 96.4552 | 91.5049 | 87.039 | 113.6342 | 226.0595 | 240.566 | 239.3571 | 300.7755 | 271.9835 | 299.4237 | 272.6572 | 208.4067 | 126.608 | 91.5786
#REF! | 1
#REF! | 1
Ausgrid
Endeavour
Essential
Repex
Augex
1998-99 to 2016-17
Notes: NSW networks capex on repex and augex, 1998-99 to 2016-17 (Essential until 2015-16)
Millions, $2017

## Slide 38
Chart: 
| 0.15 | 0.57999999999999996 | 0.27 | 0.42 | 1.01 | 0.56999999999999995 | 0.89 | 0.65 | 0.1 | 0.52 | 0.17 | 0.34 | 0.44 | 0.78 | 0.45 | 0.19 | 0.59 | 0.44
Per cent change in RAB per customer | 0.10131 | 0.56205 | 0.19414 | 0.4356 | 0.75331 | 0.52283 | 0.85056 | 0.42917 | 0.044668 | 0.49744 | 0.0091384 | 0.22817 | 0.37391 | 0.59219 | 0.55304 | 0.034128 | 0.38884 | 0.35458
TAS
SA
QLD
NSW
VIC
ACT
Notes: % change in real RAB/customer since 2005-06 on y-axis and % change in real RAB/line km since 2005-06 on x-axis
Network RABs adjusted for historic inflation/deflation

## Slide 39
Chart: 
| PCR | SPN | UED | CIT | ESS | TND | ERG | PWL | TRG | ACT | JEN | ENX | ELN | ANT | AND | AGD | TNT | END
Total capex as % of 2006 RAB | 0.92 | 0.67 | 0.81 | 0.76 | 1.66 | 1.05 | 1.28 | 1.19 | 0.94 | 0.79 | 1.07 | 1.38 | 1.12 | 0.5 | 1.25 | 1.59 | 0.97 | 1.42
Average residual life of assets in 2006 (age weighted by asset value) | 17.37 | 17.68 | 19.17 | 20.92 | 21.11 | 21.86 | 23.69 | 23.9 | 25.07 | 26.88 | 27.11 | 27.19 | 27.68 | 28.14 | 28.64 | 29.05 | 31.14 | 37.8
Remaining life of assets
Older
Younger
Notes: LHS = Total capex 2006-2014 as a % of 2006 RAB
RHS = Remaining life of assets in 2006 (years)
Notes: remaining life of assets is a weighted average by network, weighted by the RAB value of asset classes.
PCR = … etc.